## AnalyticalMethodNotation
notation | replace | label | source | notes | finalvalues
ARGT |  | 40Ar-39Ar geochronology | https://w3id.org/geochem/1.0/agent/orex |  | ARGT
AMS | A-MS | Accelerator mass spectrometry | https://w3id.org/geochem/1.0/analyticalmethod/skooghollercrouch ¦ https://w3id.org/geochem/1.0/agent/astromat |  | A-MS
xARCA | ARCA | Acid reaction carbonate analysis | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory | I think these are all ones I added, thus the 'x' prefix | ARCA
PIGE |  | Activation analysis | https://doi.org/10.1515/pac-2019-0302 ¦ https://w3id.org/geochem/1.0/agent/georoc |  | PIGE
ADS |  | Adsorption analysis | http://www.cyto.purdue.edu/cdroms/cyto2/6/coulter/ss000107.htm ¦ https://w3id.org/geochem/1.0/agent/georoc |  | ADS
AFM | AFMT | AFM topography imaging | https://w3id.org/geochem/1.0/agent/orex ¦ https://lnf-wiki.eecs.umich.edu/wiki/Atomic_force_microscopy ¦ https://doi.org/10.1007/978-3-642-16712-6_496 |  | AFMT
ALPHA |  | Alpha particle counting | https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/georoc |  | ALPHA
ALPHASPEC | ALPHA-S | Alpha particle spectrometry | https://w3id.org/geochem/1.0/agent/georoc ¦ https://en.wikipedia.org/wiki/Alpha-particle_spectroscopy |  | ALPHA-S
ART |  | Alpha recoil track counting | https://w3id.org/geochem/1.0/agent/georoc ¦ https://doi.org/10.1016/S0009-2541(99)00185-0 |  | ART
| AMP | Amperometry | https://w3id.org/geochem/1.0/agent/geox ¦ https://doi.org/10.1515/pac-2018-0109 | AD-- amperometric detection | AMP
| -- | Analytical method | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | --
ARM |  | Angle of repose measurement | https://w3id.org/geochem/1.0/agent/orex |  | ARM
ANC |  | Anion chromatography analysis | https://en.wikipedia.org/wiki/Ion_chromatography ¦ https://w3id.org/geochem/1.0/agent/petdb |  | ANC
APT |  | Atom probe tomography | https://en.wikipedia.org/wiki/Atom_probe ¦ https://w3id.org/geochem/1.0/agent/orex |  | APT
AAS | AA-S | Atomic absorption spectrometry | https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/geox ¦ https://en.wikipedia.org/wiki/Atomic_absorption_spectroscopy |  | AA-S
| AFM | Atomic force microscopy | https://en.wikipedia.org/wiki/Atomic_force_microscopy ¦ https://w3id.org/geochem/1.0/agent/orex | O-Rex combines in Nanoindentation and Microindentation bundle, has AFM as notation | AFM
AUGER |  | Auger electron spectroscopy | https://en.wikipedia.org/wiki/Auger_electron_spectroscopy ¦ https://w3id.org/geochem/1.0/agent/astromat |  | AUGER
SEMEBSDGrainImageMap | BSE-GB | Backscattered electron grain boundary imaging | https://w3id.org/geochem/1.0/agent/orex |  | BSE-GB
BSE |  | Backscattered electron imaging | https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/georoc |  | BSE
| -- | Bench chemistry | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | --
BETA |  | Beta counting | https://w3id.org/geochem/1.0/agent/petdb ¦ https://doi.org/10.1016/S0376-7388(98)00174-4 |  | BETA
| -- | Bioanalytical method | https://w3id.org/geochem/1.0/analyticalmethod/smrAddGeneralGeoX |  | --
XRBB | BB-X-S | Broad beam X-ray spectrometry | https://w3id.org/geochem/1.0/agent/astromat |  | BB-X-S
CAPD |  | Capacitance dilatometry | https://w3id.org/geochem/1.0/agent/orex ¦ https://en.wikipedia.org/wiki/Dilatometer |  | CAPD
CB |  | Carbonate bomb analysis | https://w3id.org/geochem/1.0/agent/georoc |  | CB
CCOMB |  | Catalytic combustion analysis | https://w3id.org/geochem/1.0/agent/georoc |  | CCOMB
HR-CL | CL | Cathodoluminescence imaging | https://w3id.org/geochem/1.0/agent/orex ¦ https://www.delmic.com/en/techniques/cathodoluminescence |  | CL
xCCR | CCR | Cation chromatography analysis | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory ¦ https://en.wikipedia.org/wiki/Ion_chromatography |  | CCR
| CEAS | Cavity enhanced absorption spectrometry | https://en.wikipedia.org/w/index.php?title=Laser_absorption_spectrometry&section=4 |  | CEAS
| CRDS | Cavity ring-down spectrometry | https://w3id.org/geochem/1.0/agent/geox https://en.wikipedia.org/wiki/Cavity_ring-down_spectroscopy https://gcmd.earthdata.nasa.gov/KeywordViewer/scheme/all/9a61fcbd-c75f-4940-939f-6e4c7d84d643 |  | CRDS
CHARM |  | Charmograph analysis | https://w3id.org/geochem/1.0/agent/georoc |  | CHARM
xCR | CR | Chromatography analysis | https://en.wikipedia.org/wiki/Chromatography ¦ https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | CR
COL |  | Colormetric analysis | https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://www.encyclopedia.com/science/dictionaries-thesauruses-pictures-and-press-releases/colorimetric-analysis |  | COL
COMB |  | Combustion analysis | https://preparatorychemistry.com/Bishop_Combustion_Analysis.htm ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/georoc |  | COMB
| GC-C | Combustion gas chromatography | https://doi.org/10.1021/ed046p441 ¦ https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | GC-C
GC-C-IRMS | C-GC-IR-MS | Combustion gas chromatography isotopic ratio mass spectrometry | https://w3id.org/geochem/1.0/agent/orex |  | C-GC-IR-MS
CIR | CIR-S | Combustion infrared spectrometry | https://w3id.org/geochem/1.0/agent/georoc |  | CIR-S
CIC |  | Combustion Ion Chromatography | https://www.teinstruments.com/faq/combustion-ion-chromatography/ ¦ https://www.thermofisher.com/order/catalog/product/IQLAAAGADHFAMJMBIQ ¦ https://w3id.org/geochem/1.0/agent/petdb |  | CIC
COMPT |  | Compression test | https://w3id.org/geochem/1.0/agent/orex |  | COMPT
| CXRF | Confocal X-ray fluorescence spectrometry | https://www.xos.com/Confocal-XRF ¦ https://w3id.org/geochem/1.0/agent/orex | I can't find any mention of Confocal-XRF in the current O-Rex Bundle definition docs, related to Synchrotron-based X-ray Fluorescence Spectroscopy (S-XRF) | CXRF
CFIRMS | CF-IR-MS | Continuous flow isotope ratio mass spectrometry | https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/petdb |  | CF-IR-MS
COUL |  | Coulometrical analysis | https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/astromat |  | COUL
DESI-Orbitrap MS | DESI-OT-MS | Desorption electrospray ionization orbitrap mass spectrometry | https://w3id.org/geochem/1.0/agent/orex |  | DESI-OT-MS
DDA |  | Deuteron activation analysis | https://doi.org/10.1007/BF02520983 ¦ https://w3id.org/geochem/1.0/agent/georoc |  | DDA
DFCALC |  | Dietrich-Fruhling calcimetry | https://www.gabbrielli.com/en/prodotto/dietrich-fruhling-calcimeter/ ¦ https://w3id.org/geochem/1.0/agent/georoc |  | DFCALC
DSC |  | Differential scanning calorimetry | DFG ¦ https://w3id.org/geochem/1.0/agent/orex ¦ https://doi.org/10.1515/pac-2012-0609 ¦ https://en.wikipedia.org/wiki/Differential_scanning_calorimetry ¦ https://w3id.org/geochem/1.0/agent/geox |  | DSC
| DTA | Differential thermal analysis | https://w3id.org/geochem/1.0/agent/georoc | suggested by Leander | DTA
DCPAES | DC-AE-S | Direct current plasma emission spectrometry | https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://www.rsc.org/publishing/journals/prospect/ontology.asp?id=CMO:0000265 | atomic emission? | DC-AE-S
DCP | DCP-S | Direct current plasma spectrometry | https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/petdb |  | DCP-S
DSSM |  | Direct shear strength measurement | https://w3id.org/geochem/1.0/agent/orex |  | DSSM
| DNAS | DNA sequencing | https://w3id.org/geochem/1.0/agent/geox ¦ https://doi.org/10.1515/iupac.90.0262 |  | DNAS
DIIRMS | DI-IR-MS | Dual inlet isotope ratio mass spectrometry | https://en.wikipedia.org/wiki/Isotope-ratio_mass_spectrometry ¦ https://w3id.org/geochem/1.0/agent/georoc |  | DI-IR-MS
| ECM | Electrical conductivity measurement | https://w3id.org/geochem/1.0/analyticalmethod/smraddinstmethodsgeox | method based on Geo-X instrument. | ECM
IES | EI-S | Electrochemical impedance spectroscopy | https://www.jlab.org/conferences/tfsrf/Thursday/Th2_1-EIS%20intro%20Reece.pdf ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://www.biologic.net/topics/what-is-eis/ |  | EI-S
xEC | EC | Electrochemical techniques | https://w3id.org/geochem/1.0/analyticalmethod/smrAddGeneralGeoX |  | EC
EBSD |  | Electron backscatter diffraction | https://w3id.org/geochem/1.0/agent/geox ¦ https://w3id.org/geochem/1.0/agent/orex ¦ DFG |  | EBSD
| ED | Electron diffraction | https://w3id.org/geochem/1.0/analyticalmethod/smrAddGeneralGeoX |  | ED
| EELS | Electron energy loss spectrometry | https://en.wikipedia.org/wiki/Electron_energy_loss_spectroscopy ¦ https://w3id.org/geochem/1.0/agent/orex | included in TEM bundle by O-Rex, using EELS as the notation. | EELS
xEIXS | EI-X-S | Electron induced X-ray spectrometry | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | EI-X-S
SEM |  | Electron microscopy imaging | https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/georoc |  | SEM
xESPEC | EL-S | Electron spectrometry | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory | E-S is emission spectromety, thus EL | EL-S
ESR |  | Electron spin resonance age analysis | https://en.wikipedia.org/wiki/Electron_spin_resonance_dating ¦ https://w3id.org/geochem/1.0/agent/georoc |  | ESR
ETAAS | ET-AA-S | Electrothermal absorption spectrometry | https://w3id.org/geochem/1.0/agent/georoc | atomic absorption? | ET-AA-S
EA |  | Elemental analysis | https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ http://vocab.nerc.ac.uk/collection/L05/current/LAB01 ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://en.wikipedia.org/wiki/Elemental_analysis |  | EA
| EA-IR | Elemental analysis infrared spectrometry | https://w3id.org/geochem/1.0/agent/georoc | GeoRoc uses IQ for "INFRARED QUANTIFICATION AND HIGH TEMPERATURE EVOLUTION ANALYSIS" that is an alt label for this method; Leander suggested EAIR, SMR modified to EA-IR for consistency with other EA- methods. I was interpreting Elemental Analysis to be the same thing as High-Temperature Evolution.... | EA-IR
EA-IRMS | EA-IR-MS | Elemental analysis isotope ratio mass spectrometry | https://w3id.org/geochem/1.0/agent/petdb ¦ https://doi.org/10.1351/PAC-REC-06-04-06 ¦ https://w3id.org/geochem/1.0/agent/orex |  | EA-IR-MS
EAMS | EA-MS | Elemental analysis mass spectrometry | https://w3id.org/geochem/1.0/agent/astromat |  | EA-MS
ES | E-S | Emission spectrometry | https://en.wikipedia.org/wiki/Atomic_emission_spectroscopy ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/astromat |  | E-S
EEDS | EI-ED-X-S | Energy Dispersive electron induced X-ray spectrometry | https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/petdb |  | EI-ED-X-S
XRFEDS | XF-ED-S | Energy dispersive X-ray fluorescence spectrometry | https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://www.xos.com/EDXRF |  | XF-ED-S
| EDS-M | Energy dispersive X-ray spectral data 2D raster | https://w3id.org/geochem/1.0/agent/orex | included as "Energy-dispersive X-Ray Spectral (EDS) Elemental Maps" in Scanning Electron Microscopy Bundle. Suggest EDS-M for EDS map. | EDS-M
EDS | ED-X-S | Energy dispersive X-ray spectrometry | https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/analyticalmethod/skooghollercrouch | seems like a really ubiquitous usage, ?don't change? | ED-X-S
EFTEM |  | Energy-filtered transmission electron imaging | https://eels.info/about/techniques/eftem ¦ https://w3id.org/geochem/1.0/agent/orex |  | EFTEM
ENAA |  | Epithermal neutron activation analysis | https://w3id.org/geochem/1.0/analyticalmethod/skooghollercrouch ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/georoc |  | ENAA
EXAFS |  | Extended X-ray absorption fine structure | https://doi.org/10.1515/pac-2019-0302 |  | EXAFS
FNAA |  | Fast neutron activation analysis | https://w3id.org/geochem/1.0/analyticalmethod/smrAdd ¦ https://elementalanalysis.com/naa/ |  | FNAA
NSFA-ID | FA-E-S | Fire assay emission spectrometry | https://w3id.org/geochem/1.0/agent/petdb |  | FA-E-S
FT |  | Fission track counting | https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://doi.org/10.1016/1040-6182(92)90017-V |  | FT
FLES | FL-E-S | Flame emission spectrometry | https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/petdb |  | FL-E-S
| FCM | Flow cytometry | https://apps.usgs.gov/thesaurus/thesaurus-full.php?thcode=2&code=400 ¦ https://w3id.org/geochem/1.0/agent/geox | Manja: Bioanalytical method based on a Geo.X instrument, it is probably not needed by the others. Description: Laboratory technique to determine the amount of DNA in cells tagged by fluorescent dye by measuring the intensity of fluorescence under a laser beam. (Source: USGS; https://apps.usgs.gov/thesaurus/term-simple.php?thcode=2&code=400) | FCM
| FM | Fluorescence microscopy | https://w3id.org/geochem/1.0/agent/geox ¦ http://micro.magnet.fsu.edu/primer/techniques/fluorescence/fluorhome.html ¦ https://w3id.org/geochem/1.0/analyticalmethod/nasagcmd | Manja:Method based on a Geo.X instrument. (Source: NASA; UUID: 35dc5fc4-4c96-44d9-8710-0e99e00201c8) | FM
AFS | F-S | Fluorescence spectrometry | https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/analyticalmethod/nasagcmd ¦ https://w3id.org/geochem/1.0/agent/geox ¦ https://en.wikipedia.org/wiki/Fluorescence_spectroscopy |  | F-S
FISH |  | Fluorescent in situ hybridization | https://w3id.org/geochem/1.0/agent/geox ¦ https://doi.org/10.1515/iupac.90.0262 |  | FISH
FIB-SEM |  | Focused ion beam scanning microscopy | https://w3id.org/geochem/1.0/agent/orex |  | FIB-SEM
FTIR | FT-IR-S | Fourier transform infrared spectrometry | https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/analyticalmethod/skooghollercrouch ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://en.wikipedia.org/wiki/Fourier-transform_infrared_spectroscopy |  | FT-IR-S
FTICR-MS |  | Fourier transform ion cyclotron resonance mass spectrometry | https://w3id.org/geochem/1.0/agent/orex |  | FTICR-MS
GC | GAMMA | Gamma counting | https://w3id.org/geochem/1.0/agent/orex | suggested by https://github.com/amds-ldeo/Vocabulary/issues/1 | GAMMA
GAMMA | GR-S | Gamma ray spectrometry | https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/georoc | as suggested by https://github.com/amds-ldeo/Vocabulary/issues/1 | GR-S
GC |  | Gas chromatography analysis | https://w3id.org/geochem/1.0/analyticalmethod/smrAddGeneralGeoX ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/georoc |  | GC
GC-FID |  | Gas chromatography flame ionization detection | https://doi.org/10.1515/pac-2017-0111 ¦ https://w3id.org/geochem/1.0/agent/geox |  | GC-FID
GC-MS |  | Gas chromatography mass spectrometry | https://w3id.org/geochem/1.0/agent/geox ¦ https://doi.org/10.1351/PAC-REC-06-04-06 ¦ https://w3id.org/geochem/1.0/agent/orex |  | GC-MS
GC-TCD |  | Gas chromatography thermal conductivity detection | https://w3id.org/geochem/1.0/agent/geox |  | GC-TCD
GPYC |  | Gas pycnometry | https://w3id.org/geochem/1.0/agent/orex ¦ https://en.wikipedia.org/wiki/Gas_pycnometer |  | GPYC
| -- | Geochronology techniques | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | --
GDMS | GD-MS | Glow discharge mass spectrometry | https://nrc.canada.ca/en/research-development/products-services/technical-advisory-services/glow-discharge-mass-spectrometry-gdms-analysis ¦ https://w3id.org/geochem/1.0/agent/metbase ¦ https://www.massint.co.uk/glow-discharge-ms/gdms.php |  | GD-MS
GIO |  | Gradient ion chromatography analysis | https://w3id.org/geochem/1.0/agent/petdb |  | GIO
GRAV |  | Gravimetric analysis | https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://en.wikipedia.org/wiki/Wet_chemistry#Gravimetric_analysis |  | GRAV
ARS |  | Gutzeit test | https://w3id.org/geochem/1.0/agent/georoc |  | ARS
HRICPMS | deprecate | High resolution inductively coupled plasma mass spectrometry (deprecated) | https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/astromat |  | deprecate
| HYA | Hybridization assay | https://en.wikipedia.org/wiki/Hybridization_assay ¦ https://w3id.org/geochem/1.0/agent/geox ¦ https://doi.org/10.1515/iupac.90.0262 |  | HYA
| -- | Imaging techniques | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | --
IH |  | Induction heating analysis | https://w3id.org/geochem/1.0/agent/georoc |  | IH
ICPES | ICP-E-S | Inductively coupled plasma emission spectrometry | https://w3id.org/geochem/1.0/agent/georoc |  | ICP-E-S
ICPMS | ICP-MS | Inductively coupled plasma mass spectrometry | https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/petdb |  | ICP-MS
ICPOES | ICP-OE-S | Inductively coupled plasma optical emission spectrometry | https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/georoc |  | ICP-OE-S
IRAS | IR-A-S | Infrared absorption spectrometry | https://w3id.org/geochem/1.0/agent/georoc ¦ https://en.wikipedia.org/wiki/Infrared_gas_analyzer |  | IR-A-S
| deprecate | Infrared optical spectrometry | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory | no definition, or logical requirement; delete? | deprecate
IRP |  | Infrared photometry | https://w3id.org/geochem/1.0/agent/georoc |  | IRP
IRM |  | Infrared reflectance | https://w3id.org/geochem/1.0/agent/georoc |  | IRM
IR | IR-S | Infrared spectrometry | https://w3id.org/geochem/1.0/agent/petdb ¦ https://conductscience.com/the-basics-of-infrared-spectrophotometry/ ¦ https://w3id.org/geochem/1.0/agent/georoc |  | IR-S
TIRS | IR-T-S | Infrared transmission spectrometry | https://w3id.org/geochem/1.0/agent/georoc |  | IR-T-S
INAA |  | Instrumental neutron activation analysis | https://w3id.org/geochem/1.0/analyticalmethod/skooghollercrouch ¦ https://www.nist.gov/laboratories/tools-instruments/instrumental-neutron-activation-analysis-inaa ¦ https://serc.carleton.edu/research_education/geochemsheets/ techniques/INAA.html ¦ https://w3id.org/geochem/1.0/agent/georoc |  | INAA
IC |  | Ion chromatography analysis | https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://doi.org/10.1515/pac-2017-0111 ¦ https://w3id.org/geochem/1.0/agent/geox ¦ https://w3id.org/geochem/1.0/analyticalmethod/nasagcmd |  | IC
ISE |  | Ion sensitive electrode analysis | https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/analyticalmethod/skooghollercrouch ¦ https://chem.libretexts.org/Bookshelves/Analytical_Chemistry/Physical_Methods_in_Chemistry_and_Nano_Science_(Barron)/01%3A_Elemental_Analysis/1.07%3A_Ion_Selective_Electrode_Analysis |  | ISE
IRMS | IR-MS | Isotope ratio mass spectrometry | https://w3id.org/geochem/1.0/agent/georoc ¦ https://www.emsl.pnnl.gov/science/related-instrument/isotope-ratio-mass-spectrometry/1795 |  | IR-MS
LAICPMS | LA-ICP-MS | Laser ablation inductively coupled plasma mass spectrometry | https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/petdb |  | LA-ICP-MS
LAMS | LA-MS | Laser ablation mass spectrometry | https://w3id.org/geochem/1.0/agent/georoc |  | LA-MS
LA-RIMS | LA-RI-MS | Laser ablation resonance ionization mass spectrometry | https://w3id.org/geochem/1.0/agent/petdb ¦ https://doi.org/10.1063/1.1143443 |  | LA-RI-MS
LASS | LA-SS-MS | Laser ablation split stream mass spectrometry | https://w3id.org/geochem/1.0/agent/georoc ¦ https://assets.thermofisher.com/TFS-Assets/CMD/Application-Notes/AN-30298-ICP-MS-Laser-Ablation-Split-Stream-AN30298-EN.pdf |  | LA-SS-MS
LWI | L-A-S | Laser absorption spectrometry | https://new.abb.com/products/measurement-products/analytical/laser-gas-analyzers ¦ https://w3id.org/geochem/1.0/agent/georoc |  | L-A-S
LF | LF-MS | Laser fluorination mass spectrometry | https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://sil.uoregon.edu/laser-fluorination/ ¦ https://w3id.org/geochem/1.0/agent/georoc |  | LF-MS
LIBS | LIB-S | Laser Induced Breakdown Spectrometry | https://doi.org/10.1007/978-3-642-20668-9 ¦ https://w3id.org/geochem/1.0/agent/metbase ¦ https://en.wikipedia.org/wiki/Laser-induced_breakdown_spectroscopy ¦ https://appliedspectra.com/technology/libs.html |  | LIB-S
LIMS | LI-MS | Laser ionization mass spectrometry | https://doi.org/10.1021/acs.analchem.9b00329 ¦ https://w3id.org/geochem/1.0/agent/georoc |  | LI-MS
LECO |  | LECO furnace analysis | https://w3id.org/geochem/1.0/agent/georoc ¦ https://www.element.com/materials-testing-services/chemical-analysis-labs/leco-analysis |  | LECO
LIC | LC | Liquid chromatography analysis | https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/petdb |  | LC
LC-MS |  | Liquid chromatography mass spectrometry | https://w3id.org/geochem/1.0/agent/orex |  | LC-MS
LC-OCD |  | Liquid chromatography organic carbon detection | https://w3id.org/geochem/1.0/agent/geox |  | LC-OCD
SNICPMS | LI-ICP-MS | Liquid inlet inductively coupled plasma mass spectrometry | https://w3id.org/geochem/1.0/agent/georoc |  | LI-ICP-MS
| LIT | Lock in thermography | https://movitherm.com/knowledgebase/what-is-lock-in-thermography/ ¦ https://w3id.org/geochem/1.0/agent/orex | O-REX bdd uses LIT | LIT
IGN |  | Loss on ignition analysis | https://www.precisa.com/blog/what-is-loss-on-ignition-loi ¦ https://w3id.org/geochem/1.0/agent/georoc |  | IGN
| MAG | Magnetic field measurement | https://w3id.org/geochem/1.0/analyticalmethod/smraddinstmethodsgeox | method based on Geo-X instrument. | MAG
MANO |  | Manometry | https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/petdb |  | MANO
MS | MS | Mass spectrometry | https://w3id.org/geochem/1.0/analyticalmethod/smrAddGeneralGeoX ¦ https://w3id.org/geochem/1.0/analyticalmethod/skooghollercrouch ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://doi.org/10.1351/PAC-REC-06-04-06 ¦ https://w3id.org/geochem/1.0/agent/georoc |  | MS
microXRF | M-XF-S | Micro X-ray fluorescence spectrometry | https://doi.org/10.1515/pac-2019-0302 |  | M-XF-S
MMMS | MM-MS | Micromass multiprep mass spectrometry | https://w3id.org/geochem/1.0/agent/georoc |  | MM-MS
microL2MS | MP-L2-MS | Microprobe two step laser mass spectrometry | https://w3id.org/geochem/1.0/agent/orex |  | MP-L2-MS
XRM |  | Microscopic X-ray imaging | https://w3id.org/geochem/1.0/agent/astromat ¦ https://en.wikipedia.org/wiki/X-ray_microscope |  | XRM
| -- | Microscopy | https://w3id.org/geochem/1.0/analyticalmethod/smraddinstmethodsgeox | method based on Geo-X instrument. | --
MCFMS |  | Mini cryogen free measurement system for thermal conductivity | https://w3id.org/geochem/1.0/agent/orex |  | MCFMS
SMA |  | Moisture analysis | https://onlinepubs.trb.org/Onlinepubs/nchrp/nchrp_rpt_138.pdf ¦ https://w3id.org/geochem/1.0/agent/petdb |  | SMA
MBS | MB-S | Mossbauer spectrometry | https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://en.wikipedia.org/wiki/M%C3%B6ssbauer_spectroscopy ¦ https://w3id.org/geochem/1.0/agent/petdb |  | MB-S
MC-ICP-MS | ICP-MS-MC | Multi collector inductively coupled plasma mass spectrometry | https://w3id.org/geochem/1.0/agent/orex | change order to follow workflow? (view MS as the analyzer) | ICP-MS-MC
NI-MI | NIMI | Nanoindentation and microindentation | https://w3id.org/geochem/1.0/agent/orex | a data collection which includes the Indentation Data Table and the Penetration Depth Plots. Supplementary components include a Summary Table, Indentation Area Grid Images, AFM images of some of the indents, Calibration Data, and Methods Description. | NIMI
nanoIR | N-IR-S | Nanoscale infrared spectrometry | https://doi.org/10.1016/S1369-7021(10)70205-4 ¦ https://w3id.org/geochem/1.0/agent/orex |  | N-IR-S
NTIMS | NTI-MS | Negative ion thermal ionization mass spectrometry | https://w3id.org/geochem/1.0/agent/georoc |  | NTI-MS
NAA |  | Neutron activation analysis | https://w3id.org/geochem/1.0/agent/astromat ¦ https://serc.carleton.edu/research_education/geochemsheets/techniques/INAA.html ¦ https://www.nist.gov/laboratories/tools-instruments/ instrumental-neutron-activation-analysis-inaa ¦ https://w3id.org/geochem/1.0/analyticalmethod/skooghollercrouch ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/petdb |  | NAA
NCC |  | Neutron counting | https://w3id.org/geochem/1.0/agent/georoc ¦ https://www.lanl.gov/org/ddste/aldgs/sst-training/_assets/docs/PANDA/Principles%20of%20Neutron%20Coincidence%20Counting%20Ch.%2016%20p.%20457-492.pdf |  | NCC
NINGMS | NI-NG-MS | Neutron irradiation noble gas mass spectrometry | https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/georoc |  | NI-NG-MS
NGS |  | Next generation sequencing | https://w3id.org/geochem/1.0/agent/geox ¦ https://doi.org/10.1515/iupac.90.0262 |  | NGS
NGMS | NG-MS | Noble gas mass spectrometry | https://nvlpubs.nist.gov/nistpubs/jres/38/jresv38n6p617_A1b.pdf ¦ https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/georoc |  | NG-MS
NMR | NMR-S | Nuclear magnetic resonance spectrometry | DFG ¦ https://iupac.org/wp-content/uploads/2019/10/PAC-REC-19-02-03.R2_PR191002MC.pdf ¦ https://en.wikipedia.org/wiki/Nuclear_magnetic_resonance_spectroscopy ¦ https://w3id.org/geochem/1.0/agent/geox ¦ https://w3id.org/geochem/1.0/agent/orex |  | NMR-S
NMP |  | Nuclear microprobe analysis | https://www.annualreviews.org/doi/pdf/10.1146/annurev.ns.42.120192.000245 ¦ https://w3id.org/geochem/1.0/agent/georoc |  | NMP
NPTC |  | Nuclear particle track counting | https://w3id.org/geochem/1.0/agent/astromat |  | NPTC
NRA | NR-S | Nuclear reaction spectrometry | https://w3id.org/geochem/1.0/agent/astromat |  | NR-S
OES | OE-S | Optical emission spectrometry | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | OE-S
OSPEC | O-S | Optical spectrometry | https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/georoc |  | O-S
| O-MS | Orbitrap mass spectrometry | https://en.wikipedia.org/wiki/Orbitrap ¦ https://w3id.org/geochem/1.0/agent/orex | O-Rex BDD is 'Desorption Electrospray Ionization-Orbitrap Mass spectrometry (DESI-Orbitrap MS)', I suggest O-MS. | O-MS
OTHER |  | Other | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | OTHER
xPBE | PBE | Particle beam excitation | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | PBE
PCD-AFM |  | Particle cohesion determination | https://w3id.org/geochem/1.0/agent/orex |  | PCD-AFM
xPC | PC | Particle counting | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory ¦ https://w3id.org/geochem/1.0/agent/georoc |  | PC
PIXE | PI-X-S | Particle induced X-ray spectrometry | https://doi.org/10.1515/pac-2019-0302 |  | PI-X-S
PSFD |  | Particle size distribution analysis | https://w3id.org/geochem/1.0/agent/orex |  | PSFD
xPASP | P-S | Particle spectrometry | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | P-S
PEN |  | Penfield method analysis | https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/petdb |  | PEN
| PHM | pH measurement | https://w3id.org/geochem/1.0/analyticalmethod/smraddinstmethodsgeox | method based on Geo-X instrument. | PHM
PHOT |  | Photometry | https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/geox |  | PHOT
PAA |  | Photon activation analysis | https://doi.org/10.3390/min11060617 ¦ https://w3id.org/geochem/1.0/agent/georoc |  | PAA
xPHSP | PH-S | Photon spectrometry | https://w3id.org/geochem/1.0/analyticalmethod/smrAddGeneralGeoX |  | PH-S
| -- | Physical property measurement | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | --
PES | P-E-S | Plasma emission spectrometry | https://w3id.org/geochem/1.0/agent/georoc |  | P-E-S
POES | P-OE-S | Plasma optical emission spectrometry | https://w3id.org/geochem/1.0/agent/georoc |  | P-OE-S
xPOS | P-O-S | Plasma optical spectrometry | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory | different from plasma optical emission spectrometry? | P-O-S
PSMS | PS-MS | Plasma source mass spectrometry | https://w3id.org/geochem/1.0/agent/georoc |  | PS-MS
PC | POC | Point counting | https://en.wikipedia.org/wiki/Point_counting_(geology) ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/astromat | avoid duplicaton with ParticleCounting | POC
POL |  | Polarography | https://unacademy.com/content/nta-ugc/study-material/pharmaceutical-analysis/polarography/ ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/analyticalmethod/skooghollercrouch ¦ https://en.wikipedia.org/wiki/Polarography |  | POL
| POM | Porosimetry | https://en.wikipedia.org/wiki/Porosimetry ¦ https://w3id.org/geochem/1.0/analyticalmethod/smraddinstmethodsgeox | method based on Geo-X instrument. | POM
PTIMS | PTI-MS | Positive ion thermal ionization mass spectrometry | https://w3id.org/geochem/1.0/agent/georoc |  | PTI-MS
POT |  | Potentiometry | https://doi.org/10.1515/pac-2018-0109 ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/geox |  | POT
| PIGCNAA | Pre irradiation group concentration neutron activation analysis | https://doi.org/10.1016/0009-2541(90)90036-7 ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://doi.org/10.1002/gj.907 ¦ https://doi.org/10.1007/BF02055022 | suggested by Leander/GeoRoc. | PIGCNAA
PGNAA |  | Prompt gamma neutron activation analysis | https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/analyticalmethod/skooghollercrouch ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/astromat |  | PGNAA
Py-GC | PY-GC | Pyrolysis gas chromatography | https://doi.org/10.1515/pac-2017-0111 ¦ L. S. Ettre. Pure Appl. Chem.65, 819, (1993); https://doi.org/10.1351/pac1993650408191.5.02. 1.6.11.1 |  | PY-GC
Py-GC-FID | PY-GC-FID | Pyrolysis gas chromatography flame ionization detection | https://doi.org/10.1515/pac-2017-0111 ¦ https://w3id.org/geochem/1.0/agent/geox |  | PY-GC-FID
Py-GC-MS | PY-GC-MS | Pyrolysis gas chromatography mass spectrometry | https://w3id.org/geochem/1.0/agent/geox ¦ https://doi.org/10.1351/PAC-REC-06-04-06 |  | PY-GC-MS
Q-ICP-MS | ICP-Q-MS | Quadrupole inductively coupled plasma mass spectrometry | https://w3id.org/geochem/1.0/agent/orex |  | ICP-Q-MS
EMPA | QEI-X-S | Quantitative analysis electron induced X-ray spectrometry | https://serc.carleton.edu/research_education/geochemsheets/wds.html ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/astromat | EMPA seems like a really ubiquitous usage, ?don't change? Doesn't specify detector like EEDS or EDS, guess includes Wavelength dispersive and EDS detectors | QEI-X-S
PIXEA | QPI-X-S | Quantitative analysis particle induced X-ray spectrometry | https://serc.carleton.edu/research_education/geochemsheets/wds.html) ¦ https://w3id.org/geochem/1.0/agent/georoc | is this different from PIXE? | QPI-X-S
qPCR | QPCR | Quantitative polymerase chain reaction | https://w3id.org/geochem/1.0/agent/geox ¦ https://doi.org/10.1515/iupac.90.0262 ¦ https://www.thermofisher.com/blog/ask-a-scientist/what-is-qpcr/ |  | QPCR
QRIS |  | Quantitative reflectance imaging | https://w3id.org/geochem/1.0/agent/orex |  | QRIS
RNAA |  | Radiochemical neutron activation analysis | https://doi.org/10.1515/pac-2019-0302 ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://www.nist.gov/laboratories/tools-instruments/radiochemical-neutron-activation-analysis-rnaa |  | RNAA
RAMAN | R-S | Raman spectrometry | https://iupac.org/wp-content/uploads/2019/10/PAC-REC-19-02-03.R2_PR191002MC.pdf ¦ DFG ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/geox |  | R-S
| RPM | Redox potential measurement | DFG ¦ https://w3id.org/geochem/1.0/agent/geox |  | RPM
| RI-MS | Resonance ionization mass spectrometry | https://www.osti.gov/servlets/purl/1763939 ¦ https://w3id.org/geochem/1.0/agent/georoc | RIMS in original compilation from Annika, in the GeoRoc column. | RI-MS
RI-TOF-NGMS | RI-TOF-NG-MS | Resonance ionization time of flight noble gas mass spectrometry | https://w3id.org/geochem/1.0/agent/orex |  | RI-TOF-NG-MS
| SSEQ | Sanger sequencing | https://doi.org/10.1515/iupac.90.0262 ¦ https://w3id.org/geochem/1.0/agent/geox |  | SSEQ
STEM |  | Scanning transmission electron imaging | https://en.wikipedia.org/wiki/Transmission_electron_microscopy ¦ https://w3id.org/geochem/1.0/agent/orex |  | STEM
SE |  | Secondary electron imaging | https://www.thermofisher.com/blog/materials/sem-signal-types-electrons-and-the-information-they-provide/ ¦ https://w3id.org/geochem/1.0/agent/orex |  | SE
SIMS | SI-MS | Secondary ionization mass spectrometry | https://doi.org/10.1351/PAC-REC-06-04-06 ¦ https://w3id.org/geochem/1.0/agent/geox ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/analyticalmethod/skooghollercrouch ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/orex |  | SI-MS
SNMS | SN-MS | Secondary neutral mass spectrometry | https://w3id.org/geochem/1.0/agent/orex ¦ https://www.spectroscopyeurope.com/system/files/pdf/SNMS_21_4.pdf ¦ https://doi.org/10.1002/sia.4857 |  | SN-MS
ICP-SFMS | SF-ICP-MS | Sector field inductively coupled plasma mass spectrometry | https://chemistry.olemiss.edu/icp-sfms/ ¦ https://pubs.rsc.org/en/content/articlelanding/2004/ja/b403128h ¦ https://w3id.org/geochem/1.0/agent/metbase |  | SF-ICP-MS
SV-RUEC | SVUEC | Seismic velocity and ultrasonic elastic constant measurement | https://w3id.org/geochem/1.0/agent/orex |  | SVUEC
SHRIMP |  | Sensitive high-mass-resolution ion microprobe | https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/geox | for consistency should be SHR-SI-MS, it is a mass spectrometry method… | SHRIMP
| SGM | Shotgun method | https://w3id.org/geochem/1.0/agent/geox ¦ https://doi.org/10.1515/iupac.90.0262 |  | SGM
| SC-XRD | Single crystal X-ray diffraction | https://serc.carleton.edu/research_education/geochemsheets/ techniques/SXD.html ¦ https://w3id.org/geochem/1.0/agent/geox ¦ DFG |  | SC-XRD
SOSMS | SOS-MS | Solid source mass spectrometry | https://w3id.org/geochem/1.0/agent/georoc |  | SOS-MS
SS-NMR | SS-NMR-S | Solid state nuclear magnetic resonance spectroscopy | https://w3id.org/geochem/1.0/agent/orex ¦ https://doi.org/10.1038/s43586-020-00002-1 ¦ https://en.wikipedia.org/wiki/Solid-state_nuclear_magnetic_resonance | this should be spectrometry, I missed this one… | SS-NMR-S
SSMS | SPS-MS | Spark source mass spectrometry | https://w3id.org/geochem/1.0/analyticalmethod/skooghollercrouch ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/astromat | can't use SS (split stream) | SPS-MS
SPEC | S | Spectrometry | https://w3id.org/geochem/1.0/agent/astromat ¦ https://www.merriam-webster.com/dictionary/spectrometry ¦ https://w3id.org/geochem/1.0/agent/petdb |  | S
SP-PH | SPH | Spectrophotometry | https://w3id.org/geochem/1.0/analyticalmethod/nasagcmd ¦ https://w3id.org/geochem/1.0/agent/geox |  | SPH
SCBTCA |  | Spherical cell bulk thermal conductivity analysis | https://w3id.org/geochem/1.0/agent/orex |  | SCBTCA
FINESSE |  | Stepped heating carbon and nitrogen isotopic analysis | https://doi.org/10.1016/S0012-821X(02)00592-7 ¦ https://w3id.org/geochem/1.0/agent/orex |  | FINESSE
SLS |  | Structured light scanning | https://w3id.org/geochem/1.0/agent/orex |  | SLS
xSA | SA | Surface analysis | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | SA
S-XRF | S-XF-S | Synchroton X-ray fluorescence spectrometry | https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://link.springer.com/chapter/10.1007/978-981-16-5328-5_6 |  | S-XF-S
SXRFTomographicImage | S-XF-T | Synchrotron X-ray fluorescence tomography | https://w3id.org/geochem/1.0/agent/orex |  | S-XF-T
TPD |  | Temperature programmed desorption electron probe analysis | https://w3id.org/geochem/1.0/agent/georoc ¦ https://www.hidenanalytical.com/blog/what-temperature-programmed-desorption-tpd/ |  | TPD
| TEN | Tensiometry | https://w3id.org/geochem/1.0/analyticalmethod/smraddinstmethodsgeox | method based on Geo-X instrument. | TEN
xTA | TA | Thermal analysis | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | TA
TIMS | TI-MS | Thermal ionization mass spectrometry | https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/orex |  | TI-MS
| TNAA | Thermal neutron activation analysis | https://doi.org/10.1081/ASR-120004372 ¦ https://w3id.org/geochem/1.0/analyticalmethod/smrAdd | smr Add; have epithermal neutron AA, seemed logical to have thermal neutron AA too. TNAA seems logical based on other NAA subtypes. | TNAA
TGA |  | Thermogravimetry analysis | https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/orex |  | TGA
| TLA | Thermoluminescence analysis | P.H. Benoit, ,K. Ninagawa, and D.W.G. Sears, 2000, Thermoluminescence sensitivity and thermal history of unequilibrated ordinary chondrites: Review and update: Lunar and Planetary Science XXXI, 1394.pdf; https://dsears.hosted.uark.edu//publications/pub%20by%20year/2000%20papers/benoit%20et%20al%202000c.pdf ¦ Hasan, F. A., Score, R. and Sears, D. W. G. (1989) : The natural thermoluminescence survey of Antarctic meteorites. A discussion of methods for reporting natural TL data. Lunar and Planetary XX. Houston, Lunar Planet. Inst., 383-384; https://articles.adsabs.harvard.edu/cgi-bin/nph-iarticle_query?bibcode=1989LPI....20..383H&db_key=AST ¦ https://w3id.org/geochem/1.0/agent/metbase | from metbase; propose abbreviation. | TLA
| TLD | Thermoluminescence dating | https://en.wikipedia.org/wiki/Thermoluminescence_dating ¦ https://w3id.org/geochem/1.0/agent/metbase ¦ https://w3id.org/geochem/1.0/agent/astromat |  | TLD
TIT |  | Titration | https://w3id.org/geochem/1.0/agent/astromat ¦ https://en.wikipedia.org/wiki/Titration ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/petdb |  | TIT
TXRF | TR-XF-S | Total reflection X-ray fluorescence spectrometry | https://www-pub.iaea.org/MTCD/publications/PDF/TCS-51/html/pdf/Section%201.pdf ¦ https://w3id.org/geochem/1.0/agent/georoc |  | TR-XF-S
xTC | TC | Track counting | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | TC
TEM |  | Transmission electron imaging | https://w3id.org/geochem/1.0/agent/orex ¦ https://en.wikipedia.org/wiki/Transmission_electron_microscopy ¦ https://w3id.org/geochem/1.0/agent/georoc |  | TEM
xTSPEC | T-S | Transmission spectrometry | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | T-S
| TED | Transmitted electron diffraction | https://en.wikipedia.org/wiki/Electron_diffraction#In_a_transmission_electron_microscope ¦ https://w3id.org/geochem/1.0/agent/orex | diffraction pattern images are in TEM bundle in O-Rex | TED
UVES | UV-E-S | Ultraviolet emission spectrometry | https://w3id.org/geochem/1.0/agent/petdb |  | UV-E-S
VLM |  | Visible light microscopy | https://w3id.org/geochem/1.0/agent/orex |  | VLM
VNMIR |  | Visible, near-infrared, and mid-infrared imaging | https://w3id.org/geochem/1.0/agent/orex |  | VNMIR
VOLT |  | Voltammetry | https://w3id.org/geochem/1.0/analyticalmethod/skooghollercrouch ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/petdb |  | VOLT
WDS | EI-WD-X-S | Wavelength dispersive electron induced X-ray Spectrometry | https://serc.carleton.edu/research_education/geochemsheets/wds.html |  | EI-WD-X-S
| WM-S | Wavelength-modulation spectrometry | https://goldensteingroup.com/our-research/wavelength-modulation-spectroscopy/ ¦ https://w3id.org/geochem/1.0/analyticalmethod/smrAdd | add child class found during research. | WM-S
WET |  | Wet chemistry | https://w3id.org/geochem/1.0/agent/petdb ¦ https://en.wikipedia.org/wiki/Wet_chemistry ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/georoc |  | WET
XANES | XANE-S | X-ray absorption near edge structure spectrometry | https://w3id.org/geochem/1.0/agent/petdb ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/orex ¦ https://www.cei.washington.edu/education/science-of-solar/xray-absorption-near-edge-spectroscopy-xanes/ |  | XANE-S
XAS | X-A-S | X-ray absorption spectrometry | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory ¦ https://www.bnl.gov/nsls2/userguide/lectures/lecture-4-ravel.pdf ¦ https://en.wikipedia.org/wiki/X-ray_absorption_spectroscopy |  | X-A-S
XMAP |  | X-ray composition map | https://w3id.org/geochem/1.0/agent/orex |  | XMAP
XCT |  | X-ray computed tomography | https://w3id.org/geochem/1.0/agent/orex |  | XCT
XRD |  | X-ray diffraction | https://doi.org/10.1515/pac-2019-0302 ¦ https://serc.carleton.edu/research_education/geochemsheets/techniques/XRD.html ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/geox |  | XRD
XRF |  | X-ray fluorescence spectrometry | https://w3id.org/geochem/1.0/agent/orex ¦ https://w3id.org/geochem/1.0/agent/geox ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/agent/astromat ¦ https://doi.org/10.1515/pac-2019-0302 ¦ https://w3id.org/geochem/1.0/agent/petdb | don’t change with -S pattern, XRF is widely used | XRF
RAD |  | X-ray imaging | https://w3id.org/geochem/1.0/agent/georoc ¦ https://www.fieldmuseum.org/science/research/area/conserving-collections/examination-documentation/x-radiography |  | RAD
XPS |  | X-ray photoelectron spectrometery | https://w3id.org/geochem/1.0/agent/orex ¦ https://en.wikipedia.org/wiki/X-ray_photoelectron_spectroscopy ¦ https://w3id.org/geochem/1.0/agent/georoc ¦ https://w3id.org/geochem/1.0/analyticalmethod/skooghollercrouch |  | XPS
| XPS-M | X-ray photoelectron spectrometry composition mapping | https://w3id.org/geochem/1.0/analyticalmethod/skooghollercrouch ¦ https://w3id.org/geochem/1.0/analyticalmethod/smrAdd | another addition based on description of what researchers do. ? Needed? | XPS-M
XRPD |  | X-ray powder diffraction | https://serc.carleton.edu/research_education/geochemsheets/ techniques/XRD.html ¦ https://w3id.org/geochem/1.0/agent/geox |  | XRPD
XRS | X-S | X-ray spectrometry | https://w3id.org/geochem/1.0/analyticalmethod/smraddgencategory |  | X-S
Note on D1: Stephen Richard: formula: =VLOOKUP(C2,analyticalMethodSources.txt!$B$2:$C$246,2,FALSE)

## Sheet1
finalvalues | finalvalues
-- | --
--
--
--
--
--
--
AA-S | AA-S
ADS | ADS
AFM | AFM
AFMT | AFMT
ALPHA | ALPHA
ALPHA-S | ALPHA-S
AMP | AMP
A-MS | A-MS
ANC | ANC
APT | APT
ARCA | ARCA
ARGT | ARGT
ARM | ARM
ARS | ARS
ART | ART
AUGER | AUGER
BB-X-S | BB-X-S
BETA | BETA
BSE | BSE
BSE-GB | BSE-GB
CAPD | CAPD
CB | CB
CCOMB | CCOMB
CCR | CCR
CF-IR-MS | CF-IR-MS
C-GC-IR-MS | C-GC-IR-MS
CHARM | CHARM
CIC | CIC
CIR-S | CIR-S
CL | CL
COL | COL
COMB | COMB
COMPT | COMPT
COUL | COUL
CR | CR
CXRF | CXRF
DC-AE-S | DC-AE-S
DCP-S | DCP-S
DDA | DDA
deprecate | deprecate
DESI-OT-MS | DESI-OT-MS
DFCALC | DFCALC
DI-IR-MS | DI-IR-MS
DNAS | DNAS
DSC | DSC
DSSM | DSSM
DTA | DTA
EA | EA
EA-IR | EA-IR
EA-IR-MS | EA-IR-MS
EA-MS | EA-MS
EBSD | EBSD
EC | EC
ECM | ECM
ED | ED
EDS-M | EDS-M
ED-X-S | ED-X-S
EELS | EELS
EFTEM | EFTEM
EI-ED-X-S | EI-ED-X-S
EI-S | EI-S
EI-WD-X-S | EI-WD-X-S
EI-X-S | EI-X-S
EL-S | EL-S
ENAA | ENAA
E-S | E-S
ESR | ESR
ET-AA-S | ET-AA-S
EXAFS | EXAFS
FA-E-S | FA-E-S
FCM | FCM
FIB-SEM | FIB-SEM
FINESSE | FINESSE
FISH | FISH
FL-E-S | FL-E-S
FM | FM
FNAA | FNAA
F-S | F-S
FT | FT
FTICR-MS | FTICR-MS
FT-IR-S | FT-IR-S
GAMMA | GAMMA
GC | GC
GC-C | GC-C
GC-FID | GC-FID
GC-MS | GC-MS
GC-TCD | GC-TCD
GD-MS | GD-MS
GIO | GIO
GPYC | GPYC
GRAV | GRAV
GR-S | GR-S
HYA | HYA
IC | IC
ICP-E-S | ICP-E-S
ICP-MS | ICP-MS
ICP-MS-MC | ICP-MS-MC
ICP-OE-S | ICP-OE-S
ICP-Q-MS | ICP-Q-MS
IGN | IGN
IH | IH
INAA | INAA
IR-A-S | IR-A-S
IRM | IRM
IR-MS | IR-MS
IRP | IRP
IR-S | IR-S
IR-T-S | IR-T-S
ISE | ISE
LA-ICP-MS | LA-ICP-MS
LA-MS | LA-MS
LA-RI-MS | LA-RI-MS
L-A-S | L-A-S
LA-SS-MS | LA-SS-MS
LC | LC
LC-MS | LC-MS
LC-OCD | LC-OCD
LECO | LECO
LF-MS | LF-MS
LIB-S | LIB-S
LI-ICP-MS | LI-ICP-MS
LI-MS | LI-MS
LIT | LIT
MAG | MAG
MANO | MANO
MB-S | MB-S
MCFMS | MCFMS
MM-MS | MM-MS
MP-L2-MS | MP-L2-MS
MS | MS
M-XF-S | M-XF-S
NAA | NAA
NCC | NCC
NG-MS | NG-MS
NGS | NGS
NIMI | NIMI
NI-NG-MS | NI-NG-MS
N-IR-S | N-IR-S
NMP | NMP
NMR-S | NMR-S
NPTC | NPTC
NR-S | NR-S
NTI-MS | NTI-MS
OE-S | OE-S
O-MS | O-MS
O-S | O-S
OTHER | OTHER
PAA | PAA
PBE | PBE
PC | PC
PCD-AFM | PCD-AFM
PEN | PEN
P-E-S | P-E-S
PGNAA | PGNAA
PHM | PHM
PHOT | PHOT
PH-S | PH-S
PIGCNAA | PIGCNAA
PIGE | PIGE
PI-X-S | PI-X-S
POC | POC
P-OE-S | P-OE-S
POL | POL
POM | POM
P-O-S | P-O-S
POT | POT
P-S | P-S
PSFD | PSFD
PS-MS | PS-MS
PTI-MS | PTI-MS
PY-GC | PY-GC
PY-GC-FID | PY-GC-FID
PY-GC-MS | PY-GC-MS
QEI-X-S | QEI-X-S
QPCR | QPCR
QPI-X-S | QPI-X-S
QRIS | QRIS
RAD | RAD
RI-MS | RI-MS
RI-TOF-NG-MS | RI-TOF-NG-MS
RNAA | RNAA
RPM | RPM
R-S | R-S
S | S
SA | SA
SCBTCA | SCBTCA
SC-XRD | SC-XRD
SE | SE
SEM | SEM
SF-ICP-MS | SF-ICP-MS
SGM | SGM
SHRIMP | SHRIMP
SI-MS | SI-MS
SLS | SLS
SMA | SMA
SN-MS | SN-MS
SOS-MS | SOS-MS
SPH | SPH
SPS-MS | SPS-MS
SSEQ | SSEQ
SS-NMR-S | SS-NMR-S
STEM | STEM
SVUEC | SVUEC
S-XF-S | S-XF-S
S-XF-T | S-XF-T
TA | TA
TC | TC
TED | TED
TEM | TEM
TEN | TEN
TGA | TGA
TI-MS | TI-MS
TIT | TIT
TLA | TLA
TLD | TLD
TNAA | TNAA
TPD | TPD
TR-XF-S | TR-XF-S
T-S | T-S
UV-E-S | UV-E-S
VLM | VLM
VNMIR | VNMIR
VOLT | VOLT
WET | WET
WM-S | WM-S
XANE-S | XANE-S
X-A-S | X-A-S
XCT | XCT
XF-ED-S | XF-ED-S
XMAP | XMAP
XPS | XPS
XPS-M | XPS-M
XRD | XRD
XRF | XRF
XRM | XRM
XRPD | XRPD
X-S | X-S
xxxxxx | xxxxxx

## explanation of sources
source | slabel | desc
gray boxes are classes added to fill out the hierarchy with general classes
yellow boxes are methods, mostly from Geo.X or GeoRoc, that need notations.
DOI |  | identifier for a publication used to obtain method description
URL |  | identifier for a web page used to obtain method descriptions (some links are to pdf's)
DFG |  | I don't remember where this came from. Anybody have ideas?
<https://w3id.org/geochem/1.0/agent/astromat> | Astromaterials Data System (Astromat) | Analytical methods cited in the Astromat database. The database currently contains a compilation of data acquired from meteorites and lunar samples returned by the Apollo missions. The Astromaterials Data System (Astromat, https://www.astromat.org/about/overview/) is a comprehensive data infrastructure to access, publish, and preserve laboratory analytical data generated on astromaterials samples. Astromat aims to ensure the long-term value of astromaterials samples data and maximize their impact on scientific discovery and knowledge.
<https://w3id.org/geochem/1.0/agent/orex> | OSIRIS-REx Sample Analysis Team | Analytical methods planned for the investigation of sample material returned from asteroid Bennu by the OSIRIS-REx mission (https://www.asteroidmission.org/). Some method descriptions that only have orex listed as source are from the O-REx Confluence web content. The mission sample analysis team has been compiling descriptions of analytical techniques planned, and the dictionary of planned methods has been shared with Astromat data managers and been made available for this compilation. (https://curation.isas.jaxa.jp/symposium/abstract/2021/S6-2_Connolly.pdf)
<https://w3id.org/geochem/1.0/agent/metbase> | Meteorite Information Database (Metbase) | Analytical methods requested based on metbase data. Metbase is a compilation of meteorite data published between 1492 and today, built by scientists for scientists and released exclusively online. More than 500,000 data of meteorite analyses are stored in MetBase, including Bulk chemical compositions, Major/minor/trace elements in iron meteorites, Mineral chemistry, Cosmogenic radionuclides, Light stable isotopes, Noble gas isotopes, TL data, porosities, and densities.
<https://w3id.org/geochem/1.0/agent/georoc> | Geochemistry of Rocks of the Oceans and Continents (GEOROC) | GEOROC (https://georoc.eu/) is a comprehensive collection of published analyses of igneous and metamorphic rocks and minerals. It contains major and trace element concentrations, radiogenic and nonradiogenic isotope ratios as well as analytical ages for whole rocks, glasses, minerals and inclusions. Metadata include geospatial and other sample information, analytical details and references. Digital Geochemical Data Infrastructure (DIGIS) will continue and enhance GEOROC, originally curated by the Max Planck Institute for Chemistry. Labels for analytical methods from GEOROC were compiled by Marthe Klocking, University of Gottingen, Germany, and in collaboration with Annika Johansson (IEDA, Lamont Doherty Earth Observatory, see PetDB agent) mapped to labels for techniques from PetDB; the compilation included definitions that were reviewed and enhances in some cased in this vocabulary.
meth:smrAddGeneralGeoX | SMR add general categories to group Geo.X categories | General categories added to group methods found in Geo.X source vocabulary and build hierarchy
meth:smraddgencategory | SMR add general categories | General categories not included in source vocabularies, added to build a hierarchy of methods.
<https://w3id.org/geochem/1.0/agent/petdb> | PetDB | Methods compiled from PetDB database by Annika Johansson and mapped to GEOROC and Astromat method labels. PetDB is an integrated data synthesis through which you can access chemical, isotopic, and mineralogical data from peer-reviewed literature. (https://www.earthchem.org/resources/support/petdb-documentation/)
meth:smraddinstmethodsgeox | SMR add methods associated with instruments from Geo.X | The Geo.X compilation associates methods with instrument, some of the methods are not defined in Geo.X and are added in this vocabulary
meth:smrAdd | SMR add | methods found during researching the vocabulary that were not included in any of the source vocabularies
<https://w3id.org/geochem/1.0/agent/geox> | Geo.X | vocabulary contributed by Manja Luzi, editor, under the auspices of the Research Network for Geosciences in Berlin and Potsdam (Geo.X, https://www.geo-x.net/en/), vocabulary used for information managment at Geo.X. Sources include NASA Global Change Master Directory (GCMD), 2021, GCMD Keywords, Version 11.1, Goddard Space Flight Center (GSFC) National Aeronautics and Space Administration (NASA). GCMD Keyword Forum Page https://forum.earthdata.nasa.gov/app.php/tag/GCMD+Keywords; German Research Foundation, 2021, Instrumentation category key. URL: https://www.dfg.de/en/research_funding/programmes/infrastructure/scientific_instrumentation/category_key/index.html (Downloadable versions of the instrumentation category key are provided in German only.); IUPAC (International Union of Pure and Applied Chemistry): Compendium of Analytical Terminology, current project title: Vocabulary of Concepts and Terms in Analytical Chemistry - the revised Orange Book. 4th edition: Royal Society of Chemistry, 2021. URL: https://iupac.org/project/2012-005-1-500; U.S. Geological Survey, 2021, USGS Thesaurus. URL: https://apps.usgs.gov/thesaurus/thesaurus-full.php?thcode=2; EarthChem Library, 2021, Geochemistry Data Templates. URL: https://www.earthchem.org/ecl/templates/; Georef Thesaurus. Edited by Barbara A. Goodman. 11th edition: American Geological Institute, 2008. URL: https://www.americangeosciences.org/information/georef/thesaurus/lists
meth:nasagcmd | Global Change Master Directory (GCMD), GCMD Keywords, Version 18.0 | Terms that are defined or have related instruments identified in the GCMD vocabulary. The mapping is not complete.
meth:skooghollercrouch | Principles of Instrumental Analysis Seventh Edition | Text book used as source for detailed descriptions of methods and principles involved.